## Corpro Maintenance Log
Reusable Facemask Maintenance Log
Model? | HM1400 Half Mask | FFM1600 Full Face Mask |  | Date of Issue |  | User |  |  | Please fill in this log at least once every three months to ensure your facemask is still suitable for use (based on HSE guidance HSG53 / COSHH essentials R3). If any of the statements are answered "NO" then please enter a comment and state what has been done to rectify the problem (e.g. valves replaced or facemask temporarily removed from service or facemask permanently removed from service). This maintenance log should be kept for 5 years and a change in facemask during the use of this log should be clearly indicated.
Always perform a fit check every time you don your RPE.
Date of Inspection | Examiner | Is the facepiece free from cracks/dirt? | Is the seal intact (no distortion or cracking)? | Are the inhalation valves free from cracks? | Is the head strap in good condition? | Is the exhalation valve in good condition? | Are the gaskets properly seated?1 | Is the visor free from scratches and cracks?1 | Is the filter within its expiration date? | Is the facepiece less than 5 years old?2 | Perform a fit check - can you achieve a seal for 10 seconds? | PASS | FAIL | COMMENTS
1 Corpro FFM1600 Full Face Mask only.
2 The facepiece should be renewed 5 years from the date of manufacture (as a maximum). It is advisable to make a note of your product's Date of Manufacture once purchased. Date of manufacture highlighted on the outer box or: - Below the exhale valve, internal to the front cover, for the HM1400. - Internal to the outer seal, on the visor and below the oronasal, for the FFM1600.

## Mask Components
Corpro FFM1600 Full Face Mask | Corpro HM1400 Half Mask
Tabs and Lugs
Head Harness
Outer Seal
Bezel
Fenestra / Visor
FFM Bayonets
Inhale Valves
Gaskets
Inhale Valves
Endoskeleton Bayonets
Endoskeleton
Exhale Valve
Endoskeleton Bayonets
Oronasal
Front Cover / Exoskeleton
Inhale Valves
Exhale Valve
Endoskeleton
Head Harness and Elastic Strap
Buckles
Front Cover / Exoskeleton
Oronasal
Endoskeleton Gasket
Screw and Nut

## EXAMPLE
Reusable Facemask Maintenance Log
Model? | HM1400 Half Mask | FFM1600 Full Face Mask |  | Date of Issue |  | User |  |  | Please fill in this log at least once every three months to ensure your facemask is still suitable for use (based on HSE guidance HSG53 / COSHH essentials R3). If any of the statements are answered "NO" then please enter a comment and state what has been done to rectify the problem (e.g. valves replaced or facemask temporarily removed from service or facemask permanently removed from service). This maintenance log should be kept for 5 years and a change in facemask during the use of this log should be clearly indicated.
| X |  |  | 2020-08-17 |  | Sandra Peirce
Always perform a fit check every time you don your RPE.
Date of Inspection | Examiner | Is the facepiece free from cracks/dirt? | Is the seal intact (no distortion or cracking)? | Are the inhalation valves free from cracks? | Is the head strap in good condition? | Is the exhalation valve in good condition? | Are the gaskets properly seated?1 | Is the visor free from scratches and cracks?1 | Is the filter within its expiration date? | Is the facepiece less than 5 years old?2 | Perform a fit check - can you achieve a seal for 10 seconds? | PASS | FAIL | COMMENTS
2021-11-13 | Sandra Peirce | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | X
2021-02-12 | Sandra Peirce | YES | YES | YES | YES | YES | YES | YES | NO | YES | YES |  | X | Mask not used between 12/02 until 16/02 whilst waiting for replacement filters. New filters with a new expiry date issued on 17/02/2021.
1 Corpro FFM1600 Full Face Mask only.
2 The facepiece should be renewed 5 years from the date of manufacture. Date of manufacture highlighted on the outer box or below the exhale valve, internal to the front cover.